## Sheet1
变量名称 | 变量地址 | 变量类型 | 系数
Status_To_MHI_SystemStatus_系统启动 | DB81.DBX0.0 | BOOL
Status_To_MHI_SystemStatus_系统停止 | DB81.DBX0.1 | BOOL
Status_To_MHI_SystemStatus_自动模式 | DB81.DBX0.2 | BOOL
Status_To_MHI_SystemStatus_手动模式 | DB81.DBX0.3 | BOOL
Status_To_MHI_SystemStatus_快速冷却 | DB81.DBX0.4 | BOOL
Status_To_MHI_SystemStatus_新风模式 | DB81.DBX0.5 | BOOL
Demand_disposal | M103.0 | BOOL
Status_To_MHI_RTOStatus_吹扫模式 | DB81.DBX2.0 | BOOL
Status_To_MHI_RTOStatus_吹扫设定 | DB81.DBW4 | INT
Status_To_MHI_RTOStatus_吹扫实际 | DB81.DBW6 | INT
Status_To_MHI_RTOStatus_开始点火 | DB81.DBX2.1 | BOOL
Status_To_MHI_RTOStatus_大于750℃ | DB81.DBX2.2 | BOOL
Status_To_MHI_RTOStatus_烧嘴冷却 | DB81.DBX8.0 | BOOL
Status_To_MHI_RTOStatus_升温模式 | DB81.DBX8.1 | BOOL
Status_To_MHI_RTOStatus_待机模式 | DB81.DBX8.2 | BOOL
Status_To_MHI_RTOStatus_处理模式 | DB81.DBX8.3 | BOOL
Status_To_MHI_RTOStatus_自燃模式 | DB81.DBX8.4 | BOOL
Status_To_MHI_KPRStatus_激活 | DB81.DBX10.0 | BOOL
Status_To_MHI_KPRStatus_吹扫 | DB81.DBX10.1 | BOOL
Status_To_MHI_KPRStatus_冷却 | DB81.DBX10.2 | BOOL
WT330_FRG_Desorption | M568.0 | BOOL
WT330_En_spec._desorption | M581.1 | BOOL
Status_To_MHI_KPRStatus_准备好 | DB81.DBX10.6 | BOOL
Shut_down | M101.5 | BOOL
DB_Hour_Preheat_SB_Active | DB60.DBX12.0 | BOOL
DB_Hour_Preheat_TA_Act_Hour | DB60.DBD6 | REAL
DB_Hour_StandBy_SB_Active | DB61.DBX12.0 | BOOL
DB_Hour_StandBy_TA_Act_Hour | DB61.DBD6 | REAL
DB_Hour_Disposal_SB_Active | DB62.DBX12.0 | BOOL
DB_Hour_Disposal_TA_Act_Hour | DB62.DBD6 | REAL
DB_Hour_Autotherm_SB_Active | DB63.DBX12.0 | BOOL
DB_Hour_Autotherm_TA_Act_Hour | DB63.DBD6 | REAL
DB_Hour_Autotherm_TA_Act_Sec | DB63.DBD2 | REAL
DB_RTO_Op_hours_SB_Active | DB68.DBX12.0 | BOOL
DB_RTO_Op_hours_TA_Act_Hour | DB68.DBD6 | REAL
DB_VP111_Op_hours_Start | DB65.DBX0.0 | BOOL
DB_VP111_Op_hours_TA_Act_Hour | DB65.DBD6 | REAL
DB_VV141_Op_hours_SB_Active | DB67.DBX12.0 | BOOL
DB_VV141_Op_hours_TA_Act_Hour | DB67.DBD6 | REAL
DB_VP211_Op_Hours_Start | DB606.DBX0.0 | BOOL
DB_VP211_Op_Hours_TA_Act_Hour | DB606.DBD6 | REAL
DB_VL118_Op_hours_SB_Active | DB87.DBX12.0 | BOOL
DB_VL118_Op_hours_TA_Act_Hour | DB87.DBD6 | REAL
GHMIEnergydata_Electric_Energy_ImpEp | DB78.DBD52 | REAL
DB_MG151_F22_AA_R2256_CounterAV | DB191.DBD40 | REAL
Coll_fault_A | M105.0 | BOOL
Coll_fault_C | M105.2 | BOOL
Coll_fault_D | M105.3 | BOOL
KPR1_CFFG_B | M119.1 | BOOL
KPR1_CFFG_A | M119.0 | BOOL
KPR1_CFFG_C | M119.2 | BOOL
Status_To_MHI_KPRStatus_处理中 | DB81.DBX10.7 | BOOL
Status_To_MHI_KA163Status_AM | DB81.DBX14.0 | BOOL
DB_FA108_V07_SB_Status | DB91.DBW16 | INT
Status_To_MHI_FA108Status_AM | DB81.DBX18.0 | BOOL
Status_To_MHI_BR105Status_AM | DB81.DBX22.0 | BOOL
Status_To_MHI_VP111Status_AM | DB81.DBX26.0 | BOOL
DB_MD107_P02_AV_A7251_ExtFlt | DB230.DBX16.0 | BOOL
DB_KB166_M01.R2319_ActFreq | DB66.DBD150 | REAL
Status_To_MHI_KB166_Status_AM | DB81.DBX68.0 | BOOL
Status_To_MHI_KA263Status_AM | DB81.DBX34.0 | BOOL
Status_To_MHI_VP211Status_AM | DB81.DBX38.0 | BOOL
Status_To_MHI_RTOStatus_1_AM | DB81.DBX42.0 | BOOL
Status_To_MHI_KR103Status_AM | DB81.DBX46.0 | BOOL
Status_To_MHI_WT330Status_AM | DB81.DBX62.0 | BOOL
Status_To_MHI_KL118Status_AM | DB81.DBX50.0 | BOOL
DB_KA163_Q04B_SB_Status | DB12.DBW40 | INT
DB_KA163_Q04B_AA_R2251_ActValue | DB12.DBD102 | REAL
DB_KA163_Q04C_SB_Status | DB30.DBW40 | INT
DB_KA163_Q04C_AA_R2251_ActValue | DB30.DBD102 | REAL
DB_KA163_P02_SB_Status | DB49.DBW40 | INT
DB_KA163_Q04A_AA_R2251_ActValue | DB8.DBD102 | REAL
DB_KA163_Q04A_SB_Status | DB8.DBW40 | INT
DB_KA163_T05_SB_Status | DB92.DBW40 | INT
DB_KA163_V17_SB_Status | DB522.DBW16 | INT
DB_KA163_V17_SB_S1257_Manu | DB522.DBX14.4 | BOOL
DB_KA163_V07_SB_Status | DB521.DBW16 | INT
DB_KA163_V07_SB_S1257_Manu | DB521.DBX14.4 | BOOL
DB_FA108_P02_Status | DB6.DBW38 | INT
DB_FA108_P12_Status | DB46.DBW38 | INT
DB_FA108_P22_Status | DB47.DBW38 | INT
DB_FA108_P32_Status | DB48.DBW38 | INT
DB_BR105_P02_SB_Status | DB13.DBW40 | INT
DB_BR105_M01_SB_Status | DB4.DBW80 | INT
DB_BR105_M01_AA_R2338_ActCurr | DB4.DBD166 | REAL
DB_BR105_M01_AA_R2319_ActFreq | DB4.DBD150 | REAL
SpeedCheck_DB_AA_Speed | DB54.DBD20 | REAL
SpeedCheck_DB_SB_VS | DB54.DBW8 | INT
DB_BR105_P12_SB_Status | DB14.DBW40 | INT
DB_BR105_T05_SB_Status | DB43.DBW40 | INT
DB_BR105_T15_SB_Status | DB44.DBW40 | INT
DB_BR105_V07_SB_Status | DB19.DBW16 | INT
DB_BR105_V07_SB_S1257_Manu | DB19.DBX14.4 | BOOL
DB_BR105_V17_SB_Status | DB21.DBW16 | INT
DB_BR105_V17_SB_S1257_Manu | DB21.DBX14.4 | BOOL
DB_VP111_P02_SB_Status | DB94.DBW40 | INT
DB_VP111_X20A_SB_Status | DB15.DBW40 | INT
DB_VP111_X20B_SB_Status | DB195.DBW40 | INT
DB_VP111_M01_SB_Status | DB96.DBW80 | INT
DB_VP111_M01_SB_S1257_Manu | DB96.DBX74.4 | BOOL
DB_VP111_V07_SB_Status | DB250.DBW16 | INT
DB_VP111_V07_SB_S1257_Manu | DB250.DBX14.4 | BOOL
DB_KA163_V27_SB_Status | DB531.DBW16 | INT
DB_KA163_V27_SB_S1257_Manu | DB531.DBX14.4 | BOOL
DB_KB166_M01.Status | DB66.DBW80 | INT
DB_KB166_M01_zvar_AA_R2319_ActFreq | DB66.DBD150 | REAL
DB_KB166_M01.S1257_Manu | DB66.DBX74.4 | BOOL
DB_FA208_P102FT1_SB_Status | DB106.DBW30 | WORD
DB_FA208_T05_SB_Status | DB179.DBW40 | INT
DB_KR103_M06_SB_S1257_Manu | DB103.DBX36.4 | BOOL
DB_VL118_P02_SB_Status | DB93.DBW40 | INT
DB_VL118_M01_SB_Status | DB111.DBW80 | INT
DB_VL118_M01_AA_R2319_ActFreq | DB111.DBD150 | REAL
DB_VL118_M01_AA_R2338_ActCurr | DB111.DBD166 | REAL
DB_VL118_M01_SB_S1257_Manu | DB111.DBX74.4 | BOOL
DB_MG151_F22_AA_R2414_ELCounterAV | DB191.DBD44 | REAL
DB_MG151_P22_SB_Status | DB79.DBW40 | INT
DB_MG151_Q04_SB_Status | DB157.DBW40 | INT
DB_MG151_P02_AF_H1_ExtFlt | DB80.DBX20.0 | BOOL
DB_VV141_M01_SB_Status | DB83.DBW80 | INT
DB_VV141_M01_zvar_AA_R2319_ActFreq | DB83.DBD150 | REAL
DB_VV141_M01_zvar_AA_R2338_ActCurr | DB83.DBD166 | REAL
DB_VV141_M01_SB_S1257_Manu | DB83.DBX74.4 | BOOL
DB_VV141_P02_SB_Status | DB407.DBW30 | WORD
DB_WG153_FM3_AF_H1_ExtFlt8 | DB470.DBX62.7 | BOOL
GDB_BurnerStat_Main_Gas | DB180.DBX0.0 | BOOL
GDB_BurnerStat_Main_Gas2 | DB180.DBX0.1 | BOOL
GDB_BurnerStat_Ign_Gas | DB180.DBX0.2 | BOOL
DB_WG153_P12_FT1_AF_H1_ExtFlt | DB186.DBX20.0 | BOOL
DB_WG153_M06AF1_AA_R2251_ActValue | DB99.DBD58 | REAL
DB_WG153_M06_SB_SV | DB110.DBW38 | INT
WG153_X200_Flt | M452.0 | BOOL
DB_MD107_P02_AF_H1_ExtFlt | DB230.DBX20.0 | BOOL
GDB_BurnerStat_Burner_Run | DB180.DBX0.3 | BOOL
DB_WG153_UV_AA_R2251_ActValue | DB139.DBD102 | REAL
DB_BK126_T05A_AA_R2251_ActValue | DB69.DBD102 | REAL
DB_BK126_T05A_SB_Status | DB69.DBW40 | INT
DB_BK126_T15A_AA_R2251_ActValue | DB39.DBD102 | REAL
DB_BK126_T15A_SB_Status | DB39.DBW40 | INT
DB_BK126_T25A_AA_R2251_ActValue | DB71.DBD102 | REAL
DB_BK126_T25A_SB_Status | DB71.DBW40 | INT
DB_BK124_T05_SB_Status | DB35.DBW40 | INT
DB_BK124_T15_SB_Status | DB36.DBW40 | INT
DB_BK124_T25_SB_Status | DB37.DBW40 | INT
DB_KA263_Q04B_SB_Status | DB72.DBW40 | INT
DB_KA263_P02_AA_R2251_ActValue | DB76.DBD102 | REAL
DB_KA263_P02_SB_Status | DB76.DBW40 | INT
DB_KA263_V07_SB_Status | DB2.DBW16 | INT
DB_KA263_V07_SB_S1257_Manu | DB2.DBX14.4 | BOOL
DB_KA263_V17_SB_Status | DB511.DBW16 | INT
DB_KA263_V17_SB_S1257_Manu | DB511.DBX14.4 | BOOL
DB_VP211_P02_SB_Status | DB602.DBW40 | INT
DB_VP211_P12_SB_Status | DB18.DBW40 | INT
DB_VP211_M01_SB_S1257_Manu | DB95.DBX74.4 | BOOL
DB_VP211_M01_SB_Status | DB95.DBW80 | INT
DB_KL131_V07_SB_Status | DB350.DBW16 | INT
DB_KL131_V07_SB_S1257_Manu | DB350.DBX14.4 | BOOL
DB_KL131_V47_SB_Status | DB352.DBW16 | INT
DB_KL131_V47_SB_S1257_Manu | DB352.DBX14.4 | BOOL
DB_KL131_V27_SB_Status | DB351.DBW16 | INT
DB_KL131_V27_SB_S1257_Manu | DB351.DBX14.4 | BOOL
DB_KL231_V07_SB_Status | DB360.DBW16 | INT
DB_KL231_V07_SB_S1257_Manu | DB360.DBX14.4 | BOOL
DB_KL231_V47_SB_Status | DB362.DBW16 | INT
DB_KL231_V47_SB_S1257_Manu | DB362.DBX14.4 | BOOL
DB_KL231_V27_SB_Status | DB361.DBW16 | INT
DB_KL231_V27_SB_S1257_Manu | DB361.DBX14.4 | BOOL
DB_KL331_V07_SB_Status | DB370.DBW16 | INT
DB_KL331_V07_SB_S1257_Manu | DB370.DBX14.4 | BOOL
DB_KL331_V47_SB_Status | DB372.DBW16 | INT
DB_KL331_V47_SB_S1257_Manu | DB372.DBX14.4 | BOOL
DB_KL331_V27_SB_Status | DB371.DBW16 | INT
DB_KL331_V27_SB_S1257_Manu | DB371.DBX14.4 | BOOL
DB_AP191_V07_SB_Status | DB33.DBW14 | INT
DB_AP191_P02FT1_AF_H1_ExtFlt1 | DB154.DBX36.0 | BOOL
DB_AP191_P12FT1_AF_H1_ExtFlt1 | DB51.DBX36.0 | BOOL
DB_KR103_V07AF1_AA_R2251_ActValue | DB29.DBD58 | REAL
DB_KR103_V07_SB_SV | DB103.DBW38 | INT
DB_WT330_T15_SB_Status | DB84.DBW40 | INT
DB_WT330_T25_SB_Status | DB85.DBW40 | INT
DB_WT330_V07AF1_AA_R2251_ActValue | DB24.DBD58 | REAL
DB_WT330_V07_SB_S1257_Manu | DB23.DBX36.4 | BOOL
DB_WT330_V07_SB_SV | DB23.DBW38 | INT
DB_WT330_T05_SB_Status | DB562.DBW40 | INT
DB_AT192_T05_SB_Status | DB34.DBW40 | INT
DB_AT192_T05_AA_R2251_ActValue | DB34.DBD102 | REAL
DB_WT330_V17_SB_SV | DB86.DBW38 | INT
DB_WT330_V17AF1_AA_R2251_ActValue | DB89.DBD58 | REAL
数据块_2_PT-3004_Value | DB131.DBD0 | REAL
数据块_2_PT-3020_Value | DB131.DBD40 | REAL
数据块_2_AT-3020_Value | DB131.DBD48 | REAL
01_Interlock_Message_WORD6_PDIA-3021_ALARM | DB131.DBX110.2 | BOOL
01_Interlock_Message_PDIA-3021_Value | DB131.DBD68 | REAL
01_Interlock_Message_WORD6_PDIA-3022_ALARM | DB131.DBX110.3 | BOOL
01_Interlock_Message_PDIA-3022_Value | DB131.DBD72 | REAL
01_Interlock_Message_WORD6_PDIA-3023_ALARM | DB131.DBX110.4 | BOOL
01_Interlock_Message_PDIA-3023_Value | DB131.DBD76 | REAL
01_Interlock_Message_WORD6_PDIA-3024_ALARM | DB131.DBX110.5 | BOOL
01_Interlock_Message_PDIA-3024_Value | DB131.DBD80 | REAL
数据块_2_PT-3005_Value | DB131.DBD4 | REAL
01_Interlock_Message_WORD6_PDIA-3025_ALARM | DB131.DBX110.6 | BOOL
01_Interlock_Message_PDIA-3025_Value | DB131.DBD84 | REAL
01_Interlock_Message_WORD6_PDIA-3026_ALARM | DB131.DBX110.7 | BOOL
01_Interlock_Message_PDIA-3026_Value | DB131.DBD88 | REAL
01_Interlock_Message_WORD6_PDIA-3027_ALARM | DB131.DBX111.0 | BOOL
01_Interlock_Message_PDIA-3027_Value | DB131.DBD92 | REAL
01_Interlock_Message_WORD6_PDIA-3028_ALARM | DB131.DBX111.1 | BOOL
01_Interlock_Message_PDIA-3028_Value | DB131.DBD96 | REAL
数据块_2_AT-3021_Value | DB131.DBD52 | REAL
数据块_2_PT-3006_Value | DB131.DBD8 | REAL
数据块_2_PT-3008_Value | DB131.DBD12 | REAL
数据块_2_PT-3009_Value | DB131.DBD16 | REAL
数据块_2_PT-3010_Value | DB131.DBD20 | REAL
数据块_2_PT-3011_Value | DB131.DBD24 | REAL
数据块_2_PT-3014_Value | DB131.DBD28 | REAL
数据块_2_PT-3015_Value | DB131.DBD32 | REAL
数据块_2_AT-3023_Value | DB131.DBD60 | REAL
数据块_2_AT-3024_Value | DB131.DBD64 | REAL
数据块_2_PT-3017_Value | DB131.DBD36 | REAL
DB_AT192_T05.AA.R2251_ActValue | DB34.DBD102 | REAL
DB_BK124_T05_AA_R2251_ActValue | DB35.DBD102 | REAL
DB_BK124_T15_AA_R2251_ActValue | DB36.DBD102 | REAL
DB_BK124_T25_AA_R2251_ActValue | DB37.DBD102 | REAL
DB_BR105_P02_AA_R2251_ActValue | DB13.DBD102 | REAL
DB_BR105_P12_AA_R2251_ActValue | DB14.DBD102 | REAL
DB_BR105_T05_AA_R2251_ActValue | DB43.DBD102 | REAL
DB_BR105_T15_AA_R2251_ActValue | DB44.DBD102 | REAL
DB_BR105_T25_AA_R2251_ActValue | DB45.DBD102 | REAL
DB_FA208_T05_AA_R2251_ActValue | DB179.DBD102 | REAL
DB_KA163_P02_AA_R2251_ActValue | DB49.DBD102 | REAL
DB_KA163_T05_AA_R2251_ActValue | DB92.DBD102 | REAL
DB_KA263_Q04A_AA_R2251_ActValue | DB52.DBD102 | REAL
DB_KA263_Q04B_AA_R2251_ActValue | DB72.DBD102 | REAL
DB_KA263_Q04C_AA_R2251_ActValue | DB73.DBD102 | REAL
DB_MG151_P22_AA_R2251_ActValue | DB79.DBD102 | REAL
DB_MG151_Q04_AA_R2251_ActValue | DB157.DBD102 | REAL
DB_VL118_P02_AA_R2251_ActValue | DB93.DBD102 | REAL
DB_VP111_M01_AA_R2319_ActFreq | DB96.DBD150 | REAL
DB_VP111_P02_AA_R2251_ActValue | DB94.DBD102 | REAL
DB_VP111_X20A_AA_R2251_ActValue | DB15.DBD102 | REAL
DB_VP111_X20B_AA_R2251_ActValue | DB195.DBD102 | REAL
DB_VP211_M01_AA_R2319_ActFreq | DB95.DBD150 | REAL
DB_VP211_P02_AA_R2251_ActValue | DB602.DBD102 | REAL
DB_VP211_P12_AA_R2251_ActValue | DB18.DBD102 | REAL
DB_VP211_X20A_AA_R2251_ActValue | DB16.DBD102 | REAL
DB_VP211_X20B_AA_R2251_ActValue | DB194.DBD102 | REAL
DB_WT330_T05_AA_R2251_ActValue | DB562.DBD102 | REAL
DB_WT330_T15_AA_R2251_ActValue | DB84.DBD102 | REAL
DB_WT330_T25_AA_R2251_ActValue | DB85.DBD102 | REAL
离散量报警_60 | DB92.DBX136.0 | BOOL
Alarm_7 | DB34.DBX134.1 | BOOL
Alarm_8 | DB34.DBX134.2 | BOOL
Alarm_9 | DB34.DBX136.1 | BOOL
Alarm_123 | DB407.DBX70.0 | BOOL
Alarm_159 | DB407.DBX72.1 | BOOL
Alarm_10 | DB39.DBX134.3 | BOOL
Discrete_alarm_2 | DB35.DBX134.1 | BOOL
Discrete_alarm_14 | DB35.DBX134.2 | BOOL
Discrete_alarm_15 | DB35.DBX136.1 | BOOL
Discrete_alarm_16 | DB36.DBX134.1 | BOOL
Discrete_alarm_17 | DB36.DBX134.2 | BOOL
Discrete_alarm_18 | DB37.DBX134.1 | BOOL
Discrete_alarm_19 | DB37.DBX134.2 | BOOL
Discrete_alarm_20 | DB36.DBX136.1 | BOOL
Discrete_alarm_21 | DB37.DBX136.1 | BOOL
Alarm_25 | DB325.DBX106.0 | BOOL
Alarm_27 | DB325.DBX106.2 | BOOL
Alarm_28 | DB325.DBX106.3 | BOOL
Alarm_29 | DB325.DBX106.4 | BOOL
Alarm_32 | DB325.DBX108.1 | BOOL
Alarm_33 | DB69.DBX134.1 | BOOL
Alarm_34 | DB69.DBX134.2 | BOOL
Alarm_35 | DB69.DBX136.1 | BOOL
Alarm_36 | DB70.DBX134.1 | BOOL
Alarm_37 | DB70.DBX134.2 | BOOL
Alarm_38 | DB70.DBX136.1 | BOOL
Alarm_39 | DB71.DBX134.1 | BOOL
Alarm_40 | DB71.DBX134.2 | BOOL
Alarm_41 | DB71.DBX136.1 | BOOL
Alarm_42 | DB39.DBX134.1 | BOOL
Alarm_43 | DB39.DBX134.2 | BOOL
Alarm_92 | DB134.DBX108.0 | BOOL
Alarm_93 | DB134.DBX108.1 | BOOL
Alarm_94 | DB134.DBX108.2 | BOOL
Alarm_95 | DB134.DBX108.3 | BOOL
Alarm_96 | DB134.DBX108.4 | BOOL
Alarm_97 | DB134.DBX108.5 | BOOL
Alarm_98 | DB134.DBX108.6 | BOOL
Alarm_99 | DB134.DBX108.7 | BOOL
Alarm_100 | DB135.DBX106.0 | BOOL
Alarm_101 | DB135.DBX106.1 | BOOL
Alarm_102 | DB135.DBX106.2 | BOOL
Alarm_103 | DB135.DBX106.3 | BOOL
Alarm_104 | DB135.DBX106.4 | BOOL
Alarm_105 | DB135.DBX106.5 | BOOL
Alarm_106 | DB135.DBX106.6 | BOOL
离散量报警_104 | DB110.DBX84.0 | BOOL
Alarm_116 | DB132.DBX108.0 | BOOL
Alarm_117 | DB132.DBX108.1 | BOOL
Alarm_118 | DB132.DBX108.2 | BOOL
Alarm_119 | DB132.DBX108.3 | BOOL
Alarm_122 | DB132.DBX108.6 | BOOL
Discrete_alarm_12 | DB466.DBX106.0 | BOOL
Discrete_alarm_66 | DB466.DBX106.1 | BOOL
Discrete_alarm_67 | DB466.DBX106.2 | BOOL
Discrete_alarm_68 | DB466.DBX106.3 | BOOL
Discrete_alarm_69 | DB466.DBX106.4 | BOOL
Discrete_alarm_70 | DB466.DBX106.5 | BOOL
Discrete_alarm_153 | DB466.DBX106.6 | BOOL
Alarm_12 | DB39.DBX136.1 | BOOL
Alarm_13 | DB38.DBX134.1 | BOOL
Alarm_14 | DB38.DBX134.2 | BOOL
Alarm_15 | DB38.DBX136.1 | BOOL
Alarm_16 | DB40.DBX134.1 | BOOL
Alarm_17 | DB40.DBX134.2 | BOOL
Alarm_18 | DB40.DBX136.1 | BOOL
离散量报警_71 | DB66.DBX210.0 | BOOL
离散量报警_72 | DB66.DBX210.1 | BOOL
离散量报警_3 | DB154.DBX70.0 | BOOL
离散量报警_7 | DB76.DBX134.2 | BOOL
离散量报警_8 | DB76.DBX134.0 | BOOL
离散量报警_9 | DB76.DBX134.1 | BOOL
Alarm_148 | DB49.DBX136.0 | BOOL
Alarm_149 | DB45.DBX134.1 | BOOL
Alarm_150 | DB45.DBX134.2 | BOOL
Alarm_151 | DB45.DBX136.1 | BOOL
Discrete_alarm_28 | DB158.DBX70.0 | BOOL
Discrete_alarm_55 | DB576.DBX106.0 | BOOL
Discrete_alarm_3 | DB95.DBX210.0 | BOOL
Discrete_alarm_4 | DB95.DBX210.1 | BOOL
Alarm_468 | DB49.DBX134.0 | BOOL
Discrete_alarm_29 | DB158.DBX70.1 | BOOL
离散量报警_10 | DB76.DBX136.0 | BOOL
Alarm_162 | DB2.DBX42.0 | BOOL
Alarm_163 | DB2.DBX42.1 | BOOL
Alarm_164 | DB2.DBX42.2 | BOOL
Alarm_165 | DB2.DBX42.3 | BOOL
Discrete_alarm_30 | DB6.DBX34.0 | BOOL
离散量报警_59 | DB179.DBX134.1 | BOOL
Discrete_alarm_32 | DB6.DBX36.0 | BOOL
Discrete_alarm_33 | DB91.DBX42.0 | BOOL
Alarm_170 | DB350.DBX42.0 | BOOL
Alarm_171 | DB350.DBX42.1 | BOOL
Alarm_172 | DB350.DBX42.2 | BOOL
Alarm_173 | DB350.DBX42.3 | BOOL
Alarm_174 | DB351.DBX42.0 | BOOL
Alarm_175 | DB351.DBX42.1 | BOOL
Alarm_176 | DB351.DBX42.2 | BOOL
Alarm_177 | DB351.DBX42.3 | BOOL
Alarm_178 | DB352.DBX42.0 | BOOL
Alarm_179 | DB352.DBX42.1 | BOOL
Alarm_180 | DB352.DBX42.2 | BOOL
Alarm_181 | DB352.DBX42.3 | BOOL
Alarm_182 | DB360.DBX42.0 | BOOL
Alarm_183 | DB360.DBX42.1 | BOOL
Alarm_184 | DB360.DBX42.2 | BOOL
Alarm_185 | DB360.DBX42.3 | BOOL
Alarm_186 | DB361.DBX42.0 | BOOL
Alarm_187 | DB361.DBX42.1 | BOOL
Alarm_188 | DB361.DBX42.2 | BOOL
Alarm_189 | DB361.DBX42.3 | BOOL
Alarm_190 | DB362.DBX42.0 | BOOL
Alarm_191 | DB362.DBX42.1 | BOOL
Alarm_192 | DB362.DBX42.2 | BOOL
Alarm_193 | DB362.DBX42.3 | BOOL
Alarm_194 | DB370.DBX42.0 | BOOL
Alarm_195 | DB370.DBX42.1 | BOOL
Alarm_196 | DB370.DBX42.2 | BOOL
Alarm_197 | DB370.DBX42.3 | BOOL
Alarm_198 | DB371.DBX42.0 | BOOL
Alarm_199 | DB371.DBX42.1 | BOOL
Alarm_200 | DB371.DBX42.2 | BOOL
Alarm_201 | DB371.DBX42.3 | BOOL
Alarm_202 | DB372.DBX42.0 | BOOL
Alarm_203 | DB372.DBX42.1 | BOOL
Alarm_204 | DB372.DBX42.2 | BOOL
Alarm_205 | DB372.DBX42.3 | BOOL
离散量报警_11 | DB76.DBX136.1 | BOOL
离散量报警_12 | DB79.DBX134.1 | BOOL
离散量报警_13 | DB96.DBX210.7 | BOOL
Discrete_alarm_34 | DB91.DBX42.1 | BOOL
Discrete_alarm_35 | DB91.DBX42.2 | BOOL
离散量报警_20 | DB83.DBX210.7 | BOOL
离散量报警_22 | DB4.DBX210.6 | BOOL
离散量报警_23 | DB4.DBX210.7 | BOOL
Alarm_221 | DB230.DBX34.0 | BOOL
Discrete_alarm_5 | DB95.DBX210.2 | BOOL
Discrete_alarm_6 | DB95.DBX210.3 | BOOL
离散量报警_25 | DB95.DBX210.5 | BOOL
离散量报警_26 | DB111.DBX210.7 | BOOL
离散量报警_27 | DB33.DBX24.0 | BOOL
离散量报警_28 | DB104.DBX34.0 | BOOL
离散量报警_29 | DB105.DBX34.0 | BOOL
Alarm_469 | DB49.DBX134.1 | BOOL
Alarm_11 | DB49.DBX136.1 | BOOL
Discrete_alarm_49 | DB521.DBX42.0 | BOOL
Discrete_alarm_50 | DB521.DBX42.1 | BOOL
Discrete_alarm_51 | DB521.DBX42.2 | BOOL
Discrete_alarm_52 | DB521.DBX42.3 | BOOL
Discrete_alarm_53 | DB521.DBX42.4 | BOOL
Discrete_alarm_54 | DB522.DBX42.0 | BOOL
Discrete_alarm_57 | DB522.DBX42.1 | BOOL
Discrete_alarm_58 | DB522.DBX42.2 | BOOL
Discrete_alarm_59 | DB522.DBX42.3 | BOOL
Discrete_alarm_60 | DB522.DBX42.4 | BOOL
Discrete_alarm_61 | DB531.DBX42.0 | BOOL
Discrete_alarm_62 | DB531.DBX42.1 | BOOL
Discrete_alarm_63 | DB531.DBX42.2 | BOOL
Discrete_alarm_64 | DB531.DBX42.3 | BOOL
Discrete_alarm_65 | DB531.DBX42.4 | BOOL
Discrete_alarm_1 | DB511.DBX42.0 | BOOL
Discrete_alarm_47 | DB511.DBX42.1 | BOOL
Discrete_alarm_48 | DB511.DBX42.2 | BOOL
Discrete_alarm_71 | DB511.DBX42.3 | BOOL
离散量报警_30 | DB158.DBX70.0 | BOOL
Discrete_alarm_76 | DB52.DBX134.1 | BOOL
Discrete_alarm_8 | DB95.DBX210.4 | BOOL
Discrete_alarm_13 | DB95.DBX210.6 | BOOL
Discrete_alarm_79 | DB95.DBX210.7 | BOOL
离散量报警_31 | DB590.DBX106.4 | BOOL
Discrete_alarm_81 | DB95.DBX212.0 | BOOL
Discrete_alarm_82 | DB95.DBX212.1 | BOOL
Discrete_alarm_77 | DB52.DBX134.2 | BOOL
Discrete_alarm_78 | DB52.DBX136.1 | BOOL
Discrete_alarm_83 | DB95.DBX212.2 | BOOL
Discrete_alarm_84 | DB95.DBX212.3 | BOOL
离散量报警_32 | DB590.DBX106.5 | BOOL
Discrete_alarm_86 | DB9.DBX44.0 | BOOL
Discrete_alarm_87 | DB9.DBX44.1 | BOOL
Discrete_alarm_56 | DB576.DBX106.2 | BOOL
Discrete_alarm_154 | DB72.DBX134.1 | BOOL
Discrete_alarm_155 | DB72.DBX134.2 | BOOL
Discrete_alarm_156 | DB72.DBX136.1 | BOOL
Discrete_alarm_88 | DB9.DBX44.2 | BOOL
Bitmeldung_465 | DB576.DBX106.1 | BOOL
Discrete_alarm_89 | DB9.DBX44.3 | BOOL
Discrete_alarm_90 | DB9.DBX44.4 | BOOL
Discrete_alarm_91 | DB9.DBX44.5 | BOOL
Discrete_alarm_92 | DB9.DBX46.0 | BOOL
Discrete_alarm_93 | DB9.DBX46.1 | BOOL
Discrete_alarm_94 | DB9.DBX46.2 | BOOL
Discrete_alarm_95 | DB602.DBX134.0 | BOOL
Discrete_alarm_96 | DB602.DBX134.1 | BOOL
Discrete_alarm_97 | DB602.DBX134.2 | BOOL
Alarm_354 | DB43.DBX134.1 | BOOL
Discrete_alarm_98 | DB602.DBX134.3 | BOOL
Alarm_355 | DB43.DBX134.2 | BOOL
Alarm_356 | DB43.DBX136.1 | BOOL
Alarm_357 | DB44.DBX134.1 | BOOL
Alarm_358 | DB44.DBX134.2 | BOOL
Alarm_412 | DB44.DBX136.1 | BOOL
Discrete_alarm_99 | DB602.DBX136.0 | BOOL
Discrete_alarm_100 | DB602.DBX136.1 | BOOL
Discrete_alarm_101 | DB16.DBX134.0 | BOOL
Discrete_alarm_102 | DB16.DBX136.0 | BOOL
离散量报警_33 | DB590.DBX106.6 | BOOL
离散量报警_34 | DB590.DBX106.7 | BOOL
离散量报警_35 | DB8.DBX134.0 | BOOL
离散量报警_36 | DB8.DBX134.1 | BOOL
离散量报警_37 | DB8.DBX134.2 | BOOL
离散量报警_38 | DB8.DBX134.3 | BOOL
离散量报警_39 | DB12.DBX134.0 | BOOL
Alarm_238 | DB46.DBX34.0 | BOOL
离散量报警_133 | DB179.DBX134.2 | BOOL
Alarm_240 | DB46.DBX36.0 | BOOL
Alarm_241 | DB47.DBX34.0 | BOOL
离散量报警_137 | DB179.DBX136.1 | BOOL
Alarm_243 | DB47.DBX36.0 | BOOL
Discrete_alarm_7 | DB13.DBX134.0 | BOOL
Discrete_alarm_9 | DB13.DBX136.0 | BOOL
Discrete_alarm_10 | DB14.DBX134.0 | BOOL
Discrete_alarm_11 | DB14.DBX136.0 | BOOL
Alarm_244 | DB48.DBX34.0 | BOOL
Bitmeldung_189 | DB19.DBX42.0 | BOOL
Bitmeldung_190 | DB19.DBX42.1 | BOOL
Bitmeldung_191 | DB19.DBX42.2 | BOOL
Bitmeldung_192 | DB19.DBX42.3 | BOOL
Bitmeldung_193 | DB21.DBX42.0 | BOOL
Bitmeldung_194 | DB21.DBX42.1 | BOOL
Bitmeldung_195 | DB21.DBX42.2 | BOOL
Bitmeldung_196 | DB21.DBX42.3 | BOOL
Discrete_alarm_110 | DB96.DBX210.0 | BOOL
Discrete_alarm_111 | DB96.DBX210.1 | BOOL
Discrete_alarm_112 | DB96.DBX210.2 | BOOL
Discrete_alarm_113 | DB96.DBX210.3 | BOOL
Discrete_alarm_114 | DB96.DBX210.4 | BOOL
Discrete_alarm_115 | DB96.DBX210.5 | BOOL
Discrete_alarm_116 | DB96.DBX210.6 | BOOL
Discrete_alarm_117 | DB96.DBX212.0 | BOOL
Discrete_alarm_118 | DB96.DBX212.1 | BOOL
Discrete_alarm_119 | DB96.DBX212.2 | BOOL
Discrete_alarm_120 | DB96.DBX212.3 | BOOL
Discrete_alarm_42 | DB83.DBX210.0 | BOOL
Discrete_alarm_122 | DB11.DBX44.0 | BOOL
Discrete_alarm_123 | DB11.DBX44.1 | BOOL
Discrete_alarm_124 | DB11.DBX44.2 | BOOL
Discrete_alarm_125 | DB11.DBX44.3 | BOOL
Discrete_alarm_126 | DB11.DBX44.4 | BOOL
Discrete_alarm_127 | DB11.DBX44.5 | BOOL
Discrete_alarm_128 | DB11.DBX46.0 | BOOL
Discrete_alarm_129 | DB11.DBX46.1 | BOOL
Discrete_alarm_130 | DB11.DBX46.2 | BOOL
Discrete_alarm_131 | DB111.DBX210.0 | BOOL
Discrete_alarm_132 | DB111.DBX210.1 | BOOL
Discrete_alarm_133 | DB111.DBX210.2 | BOOL
Discrete_alarm_134 | DB111.DBX210.3 | BOOL
Discrete_alarm_135 | DB111.DBX210.4 | BOOL
Discrete_alarm_136 | DB111.DBX210.5 | BOOL
Discrete_alarm_137 | DB111.DBX210.6 | BOOL
离散量报警_40 | DB12.DBX134.1 | BOOL
Discrete_alarm_139 | DB111.DBX212.0 | BOOL
Discrete_alarm_140 | DB111.DBX212.1 | BOOL
Bitmeldung_33 | DB250.DBX42.0 | BOOL
Bitmeldung_34 | DB250.DBX42.1 | BOOL
Bitmeldung_35 | DB250.DBX42.3 | BOOL
Bitmeldung_36 | DB250.DBX42.2 | BOOL
Discrete_alarm_141 | DB111.DBX212.2 | BOOL
Discrete_alarm_142 | DB111.DBX212.3 | BOOL
离散量报警_41 | DB12.DBX134.2 | BOOL
Discrete_alarm_144 | DB10.DBX44.0 | BOOL
Discrete_alarm_145 | DB10.DBX44.1 | BOOL
Discrete_alarm_146 | DB10.DBX44.2 | BOOL
Discrete_alarm_147 | DB10.DBX44.3 | BOOL
Discrete_alarm_148 | DB10.DBX44.4 | BOOL
Discrete_alarm_149 | DB10.DBX44.5 | BOOL
Discrete_alarm_150 | DB10.DBX46.0 | BOOL
Discrete_alarm_151 | DB10.DBX46.1 | BOOL
Discrete_alarm_152 | DB10.DBX46.2 | BOOL
Discrete_alarm_157 | DB73.DBX134.1 | BOOL
离散量报警_138 | DB103.DBX84.0 | BOOL
Alarm_246 | DB48.DBX36.0 | BOOL
Discrete_alarm_158 | DB73.DBX134.2 | BOOL
Discrete_alarm_159 | DB73.DBX136.1 | BOOL
Discrete_alarm_43 | DB83.DBX210.1 | BOOL
Discrete_alarm_44 | DB83.DBX210.2 | BOOL
Discrete_alarm_45 | DB83.DBX210.3 | BOOL
Discrete_alarm_46 | DB83.DBX210.4 | BOOL
Discrete_alarm_73 | DB83.DBX210.5 | BOOL
Discrete_alarm_74 | DB83.DBX210.6 | BOOL
Discrete_alarm_103 | DB83.DBX212.0 | BOOL
Discrete_alarm_104 | DB83.DBX212.1 | BOOL
Discrete_alarm_105 | DB83.DBX212.2 | BOOL
Discrete_alarm_106 | DB83.DBX212.3 | BOOL
离散量报警_42 | DB12.DBX134.3 | BOOL
离散量报警_43 | DB30.DBX134.0 | BOOL
离散量报警_44 | DB30.DBX134.1 | BOOL
离散量报警_45 | DB30.DBX134.2 | BOOL
离散量报警_46 | DB30.DBX134.3 | BOOL
离散量报警_47 | DB92.DBX134.0 | BOOL
离散量报警_48 | DB92.DBX134.1 | BOOL
离散量报警_49 | DB92.DBX134.2 | BOOL
离散量报警_50 | DB92.DBX134.3 | BOOL
离散量报警_51 | DB80.DBX34.0 | BOOL
离散量报警_52 | DB79.DBX134.0 | BOOL
离散量报警_53 | DB157.DBX134.0 | BOOL
离散量报警_55 | DB94.DBX134.0 | BOOL
离散量报警_56 | DB605.DBX106.0 | BOOL
离散量报警_57 | DB406.DBX24.0 | BOOL
离散量报警_58 | DB51.DBX70.0 | BOOL
离散量报警_139 | DB103.DBX84.1 | BOOL
离散量报警_61 | DB92.DBX136.1 | BOOL
离散量报警_62 | DB157.DBX134.1 | BOOL
离散量报警_63 | DB157.DBX134.2 | BOOL
离散量报警_64 | DB157.DBX134.3 | BOOL
离散量报警_65 | DB157.DBX136.0 | BOOL
离散量报警_66 | DB157.DBX136.1 | BOOL
离散量报警_67 | DB79.DBX134.2 | BOOL
离散量报警_68 | DB79.DBX134.3 | BOOL
离散量报警_69 | DB79.DBX136.0 | BOOL
离散量报警_70 | DB79.DBX136.1 | BOOL
离散量报警_73 | DB66.DBX210.2 | BOOL
离散量报警_74 | DB66.DBX210.3 | BOOL
离散量报警_75 | DB66.DBX210.4 | BOOL
离散量报警_76 | DB66.DBX210.5 | BOOL
离散量报警_77 | DB66.DBX210.6 | BOOL
离散量报警_78 | DB66.DBX210.7 | BOOL
离散量报警_79 | DB66.DBX212.0 | BOOL
离散量报警_80 | DB66.DBX212.1 | BOOL
离散量报警_81 | DB66.DBX212.2 | BOOL
离散量报警_82 | DB66.DBX212.3 | BOOL
离散量报警_83 | DB470.DBX106.0 | BOOL
Alarm_57 | DB4.DBX212.2 | BOOL
Alarm_58 | DB4.DBX212.0 | BOOL
Alarm_467 | DB49.DBX134.2 | BOOL
Alarm_59 | DB4.DBX210.0 | BOOL
Alarm_60 | DB4.DBX210.1 | BOOL
离散量报警_91 | DB470.DBX106.1 | BOOL
离散量报警_92 | DB470.DBX106.2 | BOOL
离散量报警_93 | DB470.DBX106.3 | BOOL
离散量报警_94 | DB470.DBX106.4 | BOOL
离散量报警_95 | DB470.DBX106.5 | BOOL
离散量报警_96 | DB465.DBX106.0 | BOOL
离散量报警_97 | DB465.DBX106.1 | BOOL
离散量报警_98 | DB465.DBX106.2 | BOOL
离散量报警_99 | DB465.DBX106.3 | BOOL
离散量报警_100 | DB465.DBX106.4 | BOOL
离散量报警_101 | DB465.DBX106.5 | BOOL
离散量报警_105 | DB110.DBX84.1 | BOOL
离散量报警_106 | DB110.DBX84.2 | BOOL
离散量报警_107 | DB466.DBX106.7 | BOOL
离散量报警_108 | DB23.DBX84.1 | BOOL
离散量报警_109 | DB23.DBX84.2 | BOOL
离散量报警_110 | DB467.DBX106.0 | BOOL
离散量报警_111 | DB86.DBX84.1 | BOOL
离散量报警_112 | DB86.DBX84.2 | BOOL
离散量报警_114 | DB132.DBX106.0 | BOOL
离散量报警_115 | DB132.DBX106.1 | BOOL
离散量报警_116 | DB132.DBX106.2 | BOOL
Alarm_501 | DB405.DBX106.0 | BOOL
Alarm_502 | DB405.DBX106.1 | BOOL
Alarm_503 | DB405.DBX106.2 | BOOL
离散量报警_117 | DB132.DBX106.3 | BOOL
离散量报警_118 | DB132.DBX106.4 | BOOL
离散量报警_119 | DB132.DBX106.5 | BOOL
离散量报警_122 | DB150.DBX34.0 | BOOL
离散量报警_140 | DB103.DBX84.2 | BOOL
离散量报警_134 | DB85.DBX134.2 | BOOL
离散量报警_135 | DB85.DBX134.1 | BOOL
离散量报警_136 | DB85.DBX136.1 | BOOL
Discrete_alarm_31 | DB194.DBX134.0 | BOOL
Discrete_alarm_143 | DB194.DBX136.0 | BOOL
离散量报警_141 | DB3.DBX45.0 | BOOL
离散量报警_142 | DB3.DBX45.1 | BOOL
离散量报警_143 | DB3.DBX45.2 | BOOL
离散量报警_144 | DB3.DBX45.3 | BOOL
离散量报警_145 | DB3.DBX45.4 | BOOL
离散量报警_146 | DB3.DBX45.5 | BOOL
离散量报警_147 | DB3.DBX47.0 | BOOL
离散量报警_148 | DB3.DBX47.1 | BOOL
Alarm_61 | DB4.DBX210.2 | BOOL
Alarm_62 | DB4.DBX210.3 | BOOL
Alarm_63 | DB4.DBX210.4 | BOOL
Alarm_64 | DB4.DBX210.5 | BOOL
Alarm_65 | DB4.DBX212.1 | BOOL
离散量报警_149 | DB3.DBX47.2 | BOOL
离散量报警_150 | DB23.DBX84.0 | BOOL
离散量报警_151 | DB467.DBX106.1 | BOOL
离散量报警_152 | DB467.DBX106.2 | BOOL
离散量报警_153 | DB86.DBX84.0 | BOOL
离散量报警_154 | DB467.DBX106.3 | BOOL
离散量报警_155 | DB467.DBX106.4 | BOOL
离散量报警_156 | DB467.DBX106.5 | BOOL
离散量报警_157 | DB467.DBX106.6 | BOOL
Alarm_233 | DB15.DBX134.0 | BOOL
离散量报警_158 | DB467.DBX106.7 | BOOL
离散量报警_161 | DB562.DBX136.0 | BOOL
Alarm_269 | DB562.DBX134.2 | BOOL
Alarm_270 | DB562.DBX136.1 | BOOL
离散量报警_159 | DB562.DBX134.1 | BOOL
离散量报警_160 | DB562.DBX134.0 | BOOL
离散量报警_162 | DB13.DBX134.1 | BOOL
离散量报警_163 | DB13.DBX134.2 | BOOL
离散量报警_164 | DB13.DBX136.1 | BOOL
离散量报警_165 | DB14.DBX134.1 | BOOL
离散量报警_166 | DB14.DBX134.2 | BOOL
离散量报警_167 | DB14.DBX136.1 | BOOL
离散量报警_168 | DB118.DBX44.0 | BOOL
离散量报警_169 | DB118.DBX44.1 | BOOL
离散量报警_170 | DB118.DBX44.2 | BOOL
离散量报警_171 | DB118.DBX44.3 | BOOL
离散量报警_172 | DB118.DBX44.4 | BOOL
离散量报警_173 | DB118.DBX44.5 | BOOL
离散量报警_174 | DB118.DBX46.0 | BOOL
离散量报警_175 | DB118.DBX46.1 | BOOL
离散量报警_176 | DB118.DBX46.2 | BOOL
离散量报警_181 | DB94.DBX134.1 | BOOL
离散量报警_182 | DB94.DBX134.2 | BOOL
离散量报警_185 | DB15.DBX134.1 | BOOL
离散量报警_186 | DB15.DBX134.2 | BOOL
离散量报警_187 | DB16.DBX134.1 | BOOL
离散量报警_188 | DB16.DBX134.2 | BOOL
离散量报警_189 | DB15.DBX136.1 | BOOL
离散量报警_190 | DB16.DBX136.1 | BOOL
离散量报警_191 | DB194.DBX134.1 | BOOL
离散量报警_192 | DB194.DBX134.2 | BOOL
离散量报警_193 | DB194.DBX136.1 | BOOL
离散量报警_199 | DB154.DBX72.0 | BOOL
离散量报警_200 | DB154.DBX72.1 | BOOL
离散量报警_201 | DB51.DBX72.0 | BOOL
离散量报警_202 | DB51.DBX72.1 | BOOL
离散量报警_203 | DB186.DBX34.0 | BOOL
Alarm_160 | DB15.DBX136.0 | BOOL
离散量报警_233 | DB470.DBX106.7 | BOOL
Alarm_389 | DB249.DBX106.0 | BOOL
Alarm_390 | DB249.DBX106.1 | BOOL
DB_AP191_P02FT1_Warn_Word | DB154.DBW72 | WORD
AP191_V07_Flt_Word | DB33.DBW24 | WORD
DB_VL118_P02_Flt_Word | DB93.DBW134 | WORD
DB_VP211_P12_Flt_Word | DB18.DBW134 | WORD
DB_VP211_P12_Warn_Word | DB18.DBW136 | WORD
DB_WT330_T15_Flt_Word | DB84.DBW134 | WORD
DB_WT330_T15_Warn_Word | DB84.DBW136 | WORD
DB_VL118_P02_Warn_Word | DB93.DBW136 | WORD
DB_VP111_P02_Warn_Word | DB93.DBW136 | WORD
DB_VP111_X20B_Flt_Word | DB195.DBW134 | WORD
DB_VP111_X20B_Warn_Word | DB195.DBW136 | WORD
DB_KPR_Process_Fault_Flt_Word | DB236.DBW34 | WORD
GPT_Pan_FM_Warn_Word | DB238.DBW108 | WORD
DB_KA163_Q04A_Warn_Word | DB8.DBW136 | WORD
DB_KA163_Q04B_Warn_Word | DB12.DBW136 | WORD
DB_KA163_Q04C_Warn_Word | DB30.DBW136 | WORD
Interlock_Alarm_Flt_Word | DB243.DBW34 | WORD
SV3001风机状态 | DB131.DBX101.2 | BOOl
SV3002风机状态 | DB131.DBX101.4 | BOOl
SV3003风机状态 | DB131.DBX101.6 | BOOl
SV3004风机状态 | DB131.DBX102.0 | BOOl
SV3005风机状态 | DB131.DBX102.2 | BOOl
SV3006风机状态 | DB131.DBX102.4 | BOOl
SV3007风机状态 | DB131.DBX102.6 | BOOl
SV3008风机状态 | DB131.DBX103.0 | BOOl
PEF01-01风机状态 | DB131.DBX103.2 | BOOl
PEF01-02风机状态 | DB131.DBX100.0 | BOOl
BFP除尘风机风机状态 | DB131.DBX103.4 | BOOl
60#除尘风机1风机状态 | DB131.DBX103.6 | BOOl
60#除尘风机2风机状态 | DB131.DBX104.0 | BOOl
PEF01-03风机状态 | DB131.DBX100.2 | BOOl
PEF01-04风机状态 | DB131.DBX100.4 | BOOl
PEF01-05风机状态 | DB131.DBX100.6 | BOOl
灌区风机风机状态 | DB103.DBX101.0 | BOOl
DB_BR105_T25_SB_Status | DB45.DBW40 | INT
DB_BR105_M01_SB_S1257_Manu | DB4.DBX74.4 | BOOl
SV3002 | DB131.DBX104.5 | BOOl
SV3003 | DB131.DBX104.7 | BOOl
SV3004 | DB131.DBX105.1 | BOOl
SV3005 | DB131.DBX105.3 | BOOl
SV3006 | DB131.DBX105.5 | BOOl
SV3007 | DB131.DBX105.7 | BOOl
SV3008 | DB131.DBX106.1 | BOOl
SV3020 | DB131.DBX106.5 | BOOl
SV3031 | DB131.DBX107.7 | BOOl
SV3041 | DB131.DBX110.1 | BOOl
SV3021 | DB131.DBX106.7 | BOOl
SV3032 | DB131.DBX108.1 | BOOl
SV3033 | DB131.DBX108.3 | BOOl
SV3022 | DB131.DBX107.1 | BOOl
SV3023 | DB131.DBX107.3 | BOOl
SV3024 | DB131.DBX107.5 | BOOl
SV3034 | DB131.DBX108.5 | BOOl
SV3035 | DB131.DBX108.7 | BOOl
SV3036 | DB131.DBX109.1 | BOOl
SV3038 | DB131.DBX109.3 | BOOl
SV3039 | DB131.DBX109.5 | BOOl
SV3040 | DB131.DBX109.7 | BOOl
Zgenflags_pan_KPR_PURGE_SET | DB256.DBD0 | DInt
Zgenflags_pan_KPR_PURGE_AVAL | DB256.DBD4 | DInt
Zflags_Interlock_Interlock_Enable_VP111 | DB256.DBX8.0 | BOOl
DB_RTO_AS_AA_BK126_Act_BK126_Average_Temp | DB256.DBD10 | REAL
ZFlags_MG151_F22_AVAL | DB256.DBD14 | Real
Mode_To_HMI_RTO_Shutdown_Delay_3M | DB256.DBW18 | INT
Mode_To_HMI_RTO_Shutdown_Delay | DB256.DBX20.0 | BOOl
PT_3004_Status | DB256.DBW22 | INT
PT_3020_Status | DB256.DBW24 | INT
AT_3020_Status | DB256.DBW26 | INT
TIA3001_3001_Status | DB256.DBW28 | INT